Fit Out

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4133223 | Bunnings | Supply internal door stop | Adoored Satin Chrome Trumpet Magnetic Door Stop #4133223 |  | 1 | 6.67 | 6.67 |  |

Wall Frames

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Delivery fees | Wall Frames: Flat rate | per del | 1 | 50 | 50 |  |
| 800097882 | Clennetts | Supply Pine Framing | Framing Pine MGP10 90 x 35mm | l/m | 20 | 3.14 | 62.8 |  |
| 3260726 | Clennetts | JH VILLABOARD LINING RE 6mm 2400 X 1200mm |  | ea | 1 | 39.87 | 39.87 |  |
| 800118197 | Clennetts | axent Trim 45 x 38mm |  | ea | 1 | 49.8 | 49.8 |  |
|  |  | Supply Framing Nails | 75mm - Paslode Framing Nails Bright D Head (inc Gas) | box/3000 | 1 | 30 | 30 |  |
|  |  | Supply wall plugs | spaghetti roll |  | 1 | 20 | 20 |  |
|  |  | Supply bugle (batten) screws | 75mm - Timber Galv Bugle Batten 14g | box/100 | 1 | 20 | 20 |  |

Carpentry

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Install timber wall framing | Inc: Wall frames to create tile shelf , tie downs, and intstalation 6mm Villaboard to tile shelf | hrs | 8 | 85 | 680 |  |
|  |  | Install Floor plinth/step up | Install axent trim to floor to create step up 38mm the height - width 45mm | hrs | 1 | 85 | 85 |  |
|  |  | Complete internal fit out | Inc: doors, handles, stops, skirtings, architraves | hrs | 4 | 85 | 340 |  |
|  |  | Complete internal bathroom fit out | Inc: towel rails, t/r holders, vanity units | hrs | 16 | 85 | 1360 |  |

Cleaning

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Cleaning services | Completion of Project clean (inc suppy of products & equipment) | ea | 1 | 500 | 500 |  |
|  |  | Cleaning services | Clean IXL Tastic to Water closet | ea | 1 | 100 | 100 |  |

Demolition - labour & waste disposal

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Waste Disposal Costs |  | ea |  |  | 0 |  |
|  |  | Bin Hire and Disposal Fees |  | ea | 1 | 500 | 500 |  |
|  |  | Tip Fees |  | ea |  |  | 0 |  |
|  |  | Labour for demo |  | hr |  |  | 0 |  |
|  |  | Remove and disposal labour | disposal of existing shower screens & base | hr | 2 | 85 | 170 |  |
|  |  | Remove and disposal labour | disposal of all existing wall and floor tiles throughout bathroom | hr | 8 | 85 | 680 |  |
|  |  | Remove and disposal labour | disposal of bath tub and brick bath hob (note: bath tub is cast iron) | hr | 4 | 85 | 340 |  |
|  |  | Remove and disposal labour | disposal of all existing floor tiles throughout watercloset | hr | 4 | 85 | 340 |  |
|  |  | Remove and disposal labour | disposal of existing toilet suite and toilet roll holder | hr | 1 | 85 | 85 |  |
|  |  | Remove and disposal labour | disposal of existing vanity unit & fittings | hr | 2 | 85 | 170 |  |
|  |  | Remove and disposal labour | disposal of existing heat/light/fan fitting | hr | 1 | 85 | 85 |  |
|  |  | Remove and set aside for reuse | existing storage unit | hr | 1 | 85 | 85 |  |
|  |  | Remove and set aside for reuse | Remove and clean skylight cover | hr | 1 | 85 | 85 |  |

Electrical

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Decommission fee |  |  |  | 660 | 0 |  |
|  |  | Electrical work - hourly rate |  |  | 4 | 110 | 440 |  |
|  |  | Call out fee |  |  | 2 | 110 | 220 |  |

Electrical Fittings

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Replacement IXL cover |  | ea | 1 | 60 | 60 |  |

Exclusions

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Connection fees | No allowance has been included for any fees incurred with Tas Networks, Tas Gas, Tas Water, NBN, Aurora or similar |  |  |  |  |  |
|  |  | Electrical upgrade | No allowance has been included for upgrading existing electrical wiring to house. It is assumed that we can connect to existing |  |  |  |  |  |
|  |  | Plumbing upgrade | No allowance has been included for upgrading existing plumbing to house. It is assumed that we can connect to existing |  |  |  |  |  |
|  |  | Design Fees | No allowance has been included for any design fees (architect, designer, engineer, hydraulic or similar) |  |  |  |  |  |
|  |  | Council Fees | No allowance has been included for any council fees incurred |  |  |  |  |  |
|  |  | Professional Fees | No allowance has been included for any building surveyor or specialist consultant fees unless listed in scope |  |  |  |  |  |

Glazing

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Lifestyle | Supply & install shower screen | Single panel - 900-1200mm - Semi-frameless | ea | 1 | 2000 | 2000 |  |

Painting & Rendering

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | General house painting | 3.0m ceiling height - Full Reno - Bathroom & WC & Kitchen repairs | m2 | 1.4 | 68 | 95.2 |  |
|  |  | General house painting | 3.0m ceiling height - Full Reno - Bathroom & WC & Kitchen repairs | m2 | 3.7 | 68 | 251.6 |  |
|  |  | General house painting | 3.0m ceiling height - Full Reno - Bathroom & WC & Kitchen repairs | m2 | 1.8 | 68 | 122.4 |  |
|  |  | General house painting | 3.0m ceiling height - Full Reno - Bathroom & WC & Kitchen repairs | m2 | 3 | 68 | 204 |  |
|  |  | General house painting | 3.0m ceiling height - Full Reno - Bathroom & WC & Kitchen repairs | m2 | 2.66 | 68 | 180.88 |  |
|  |  | General house painting | 3.0m ceiling height - Full Reno - Bathroom & WC & Kitchen repairs | m2 | 5.6 | 68 | 380.8 |  |
|  |  | General house painting | 3.0m ceiling height - Full Reno - Bathroom & WC & Kitchen repairs | m2 | 0.9 | 68 | 61.2 |  |
|  |  | General house painting | 3.0m ceiling height - Full Reno - Bathroom & WC & Kitchen repairs | m2 | 5.6 | 68 | 380.8 |  |
|  |  | General house painting | 3.0m ceiling height - Full Reno - Bathroom & WC & Kitchen repairs | m2 | 7 | 68 | 476 |  |
|  |  | General house painting | 3.0m ceiling height - Full Reno - Bathroom & WC & Kitchen repairs | m2 | 0.7 | 68 | 44.8 |  |

Plumbing & Drainage

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Vince | Room Renovation | Bathroom - Inc: all plumbing rqd down to floor level | ea | 1 | 2200 | 2200 |  |
|  |  | Room Renovation | Service call to Isolate & Cap off drains & hot & cold-water fixtures |  | 1 | 680 | 680 |  |

Plumbing & Sanitary fittings

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1010367 | Beaumont Tiles | Supply Vanity complete | Nevada Plus Vty 900mm, Alpha Ceramic Top, F/S | ea | 1 | 1306.89 | 1306.89 |  |
| 1243798 | Beaumont Tiles | Supply Basin Mixer | Lina Basin Mixer Chrome | ea | 1 | 138.15 | 138.15 |  |
| 1250234 | Beaumont Tiles | Supply Plug & Waste | Misha Pop Up Waste 32mm Chrome | ea | 1 | 26.55 | 26.55 |  |
| HOBA-444118 | Beaumont Tiles | Supply Shower Rail | Empire Slim Rail Shower Chrome | ea | 1 | 170 | 170 |  |
| HOBA-234101 -2-LF | Beaumont Tiles |  | Empire Slim Wall Mixer Round Plate Chrome | ea | 1 | 122.86 | 122.86 |  |
| 1207550 | Beaumont Tiles | Supply Toilet suite | Vera BTW Uni 80-180 Extra High Tornado Toilet Suite | ea | 1 | 399.27 | 399.27 |  |
| 1243838 | Beaumont Tiles | Supply Toilet roll Holder | Lina Toilet Roll Holder Chrome | ea | 1 | 34.15 | 34.15 |  |
|  |  | Supply Towel Rail |  | ea |  |  | 0 |  |
| 1243778 | Beaumont Tiles | Supply Towel Ring | Misha Towel Ring Chrome | ea | 1 | 24.69 | 24.69 |  |
| 1243843 | Beaumont Tiles | Supply Robe Hook | Lina Robe Hook Chrome | ea | 2 | 17.42 | 34.84 |  |
| 1270107 | Beaumont Tiles | Supply Floor waste | Haus 25 Tile Insert 106x106x80mm Chrome | ea | 1 | 21.78 | 21.78 |  |
|  |  | Delivery fees | Plumbing & Sanitary - determined by supplier | ea | 1 | 50 | 50 |  |

Site Costs

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Site Signage |  | ea | 1 | 300 | 300 |  |
|  |  | General Site costs | inc unspecified items as required for site | ea | 1 | 300 | 300 |  |
|  |  | Temporary Fencing | includes delivery, setup, hire & removal | ea | 1 | 200 | 200 |  |
|  |  | Waste Disposal | during project (demo is separate) | ea | 1 | 500 | 500 |  |
|  |  | Site First Aid Kit |  | ea | 1 | 100 | 100 |  |
|  |  | Toilet Hire | includes delivery, setup, hire, cleans & removal | wk | 6 | 85 | 510 |  |

Tiling - all inclusive

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Take off & layout plan fee | National Tiles only | ea | 1 | 100 | 100 |  |
|  |  | Delivery fees | Delivery/Pickup and unloading of tiles | ea | 1 | 120 | 120 |  |
|  |  | Supply Floor & Skirting Tiles | Everyday | m2 | 7 | 53.72 | 376.04 |  |
|  |  | Supply Floor & Skirting Tiles | Everyday | m2 | 4 | 53.72 | 214.88 |  |
|  |  | Supply Wall Tiles | Everyday | m2 | 5 | 53.72 | 268.6 |  |
|  |  | Supply Wall Tiles | Everyday | m2 | 5 | 53.72 | 268.6 |  |
|  |  | Supply Wall Tiles | Everyday | m2 | 1 | 53.72 | 53.72 |  |
|  |  | Supply Wall Tiles | Everyday | m2 | 5 | 53.72 | 268.6 |  |
|  |  | Lay tiles- floor tiles | between 300x300 and 600x600 | m2 | 5.5 | 90 | 495 |  |
|  |  | Lay tiles | between 300x300 and 600x600 | m2 | 4.2 | 90 | 378 |  |
|  |  | Lay tiles | between 300x300 and 600x600 | m2 | 4.2 | 90 | 378 |  |
|  |  | Lay tiles | between 300x300 and 600x600 | m2 | 1 | 90 | 90 |  |
|  |  | Lay tiles | between 300x300 and 600x600 | m2 | 4.2 | 90 | 378 |  |
|  |  | Lay tiles-floor tiles | between 300x300 and 600x600 | m2 | 2 | 90 | 180 |  |
|  |  | Lay tiles | shower base cuts & water stop | m2 | 2 | 350 | 700 |  |
|  |  | Tile into wall recess | eg: niche in shower | ea | 2 | 350 | 700 |  |
|  |  | Screed to shower floor | to achieve falls to waste | ea | 1 | 400 | 400 |  |
|  |  | Floor screeding inc materials | to Water closet | m2 | 2 | 90 | 180 |  |
|  |  | Install tile trim |  | l/m | 12 | 25 | 300 |  |
|  |  | Install tile trim |  | l/m | 6 | 25 | 150 |  |
|  |  | Lay specialty tiles | Lay tiles - subway - 100mm or less | m2 | 0.5 | 120 | 60 |  |
|  |  | Silicone work | supply & install | l/m | 18 | 8 | 144 |  |

Trade Labourers

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Remove and thoroughly clean existing skylight cover in ceiling and place back in position | hrs | 1 | 85 | 85 |  |
|  |  |  | Place floor and dust coverings as required to areas affected by tradespeople and/or the works in the galley, hallway, entry and kitchen | hrs | 4 | 85 | 340 |  |
|  |  |  | Remove and dispose of paint to galley wall where brickwork is water affected to expose bricks and mortar for repair work and then repainting | hrs | 4 | 85 | 340 |  |

Waterproofing

| Supplier Item Code | Supplier / Trade | Item | Description | Unit | Final Qty | Final Price | Final Total Cost |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Apply internal waterproofing | Typical bathroom, ensuite - Inc: supply of products and installation compliant with NCC & AS | room | 1 | 650 | 650 |  |
|  |  | Apply internal waterproofing | Typical laundry, powder room - Inc: supply of products and installation compliant with NCC & AS | room |  |  | 0 |  |